NATIONAL INStITUTE OF TECHNOLOGY

ROURKELA-769 008 (ORISSA)

Tender Notice No.NITR/PW/08/07-F      		          		      Dated: 18.07.08

TENDER FOR MAINTENANCE OF WATER PUMP HOUSE AND DISTRIBUTION OF WATER (ACADEMIC AREA, HALLS OF RESIDENCE, STAFF QUARTER AREA)

Sealed tenders in prescribed format are invited for maintenance of pump house             ( Academic, Halls of residence  and staff quarter Area)  and distribution of water( in the academic area and Halls of residence area)  from  experienced Contractors (Having valid Mechanical & Electrical license) of ‘B’ ‘C’  and ‘D’ category registered with state govt./ central govt./ PSU with following terms and conditions.

- JOB DESCRIPTION

Maintenance of pump house (Mechanical & Electrical work) and pumping of water to overhead tank, supply of water to the academic and halls of residence area,  regular checking of pumps, connecting water lines and valves etc. at NIT, Rourkela  as per the following terms and conditions.

- MAINTENANCE OF PUMP HOUSE IN THE ACADEMIC AREA AND HALLS OF RESIDENCE AREA:

- Overhead tank (400 M3 capacity) to be filled up as needed to ensure required water supply to the halls and Academic areas.

- Operation of Mechanical pumps by electrically operated motors having capacity 40 HP to 60 HP (2 nos), 2HP pumps etc.

- To operate sluice valves for proper supply of water to the halls and academic area of the institute.

- Repair and maintenance of all plumbing works in the pump house area, main water lines up to the halls and Over Head tanks (labour cost only). It does not include retail plumbing within the halls of residence buildings or academic buildings.

- The Firm/Agency has to ensure that there is no wastage of water through leaking pipe, valves, overflow due to failure of that valves etc.

- Preventive maintenance of pumps, motors, stators, sluice valves etc. is to be made for smooth functioning of pump house and proper records shall be maintained.

- The Firm shall be responsible for upkeep of the water works area including removal of weeds, cleaning and drainage.

- The operators should be competent and well trained to operate the pumps              (Electrical & Mechanical).

- In case of break down, the repair and maintenance of the pump house should be done immediately ensuring “no interruption of water supply” with standby capacity, failing which the Institute shall be entitled to recover a lump sum amount towards penalty from the contractor.

- Operation of bore well pumps near the halls.

- MAINTENANCE OF PUMP HOUSE IN THE STAFF QUARTERS AREA :

- Pumping of water from the Pumps of staff quarter pump house to hill top reservoir in NIT, Rourkela .

- Pumping of water from the underground reservoir at staff quarter pump house to hill top reservoir ( preferably from 8.00 P.M. to 6.00 A.M.) by operating Mechanical  operated pumps & Electrically operated motors having capacity 50HP to 75 HP including operation of sluice valves and other minor repair works ( to ensure 400 M3 water at the hill top reservoir).

- Supply of water from campus water works to hall water tank and vice-versa if needed.

- OPERATTIVE TERMS AND CONDITIONS:

- The Agency will maintain the agreed deployment of personnel for five days a week in the academic area. Adequate numbers of personnel must be engaged in the halls of residence area and staff quarter pump house for seven days a week for 365 days.

- Institute shall provide plumbing items as and when required for maintenance purpose. The firm/ Agency shall be the keep proper record  of the same and shall deploy  adequate numbers of trained  personnel for maintenance of  the same

- The assets and articles provided by the Institute shall be property of the Institute and agency shall be merely the custodians of such assets and articles. On termination of  contract, any such property shall be handed over to the Institute.

- The Agency shall assure that in the event of shortage of  personnel on duty, the routine maintenance work and supply of water shall be executed effectively by engaging substitute personnel or assigning overtime duties to other employees at  his own cost and expenses.

- The Agency shall ensure that all personnel are imparted proper training at regular intervals.

- Names and other personal details of the employees engaged by the Agency under this contact has to be submitted  and approved  by the Institute.

- The Agency shall designate their representative stationed at the Institute, who would act as a liaison officer between the agency and the Institute as and when required.

- STATUTORY OBLIGATIONS:

- The Agency/Firm shall be directly responsible for payment of wages (including other benefits like E.P.F & E.S.I) to his manpower engaged under this contract at his own cost. When the contract terminates there shall be no physical or moral pressure on the institute, on grounds of “person displaced from job”.

- Month wise detail statement of wages paid to the labourer including E.P.F/ E.S.I deduction should be enclosed  along with the monthly bill by the  Firm/Agency and submitted to the designated Officer of the institute.

- The Agency  should  have E.P.F registration No. and a  valid  labour license  under section 7 of the contract Labour ( R & A) Act,1970 and contract labour ( R & A Central Govt. Rules, 1971).

- The Firm/Agency shall abide by all statutory and regulatory Acts of both Central Government and State Government.

- The Firm/Agency shall comply the regulatory clauses of  labour Act and shall not engage any minor under this contract.

- All safety measures must be taken care, in order to avoid any accident, fire and other safety hazards. Any type of loss of assets due to any such incident is the sole responsibility of the Firm/Agency. The Institute shall in no way be liable for any such incident.

- If there is any damage to the institute property or any other financial burden on the institute because of willful or negligent action by the Firm or its personnel, the institute shall be entitled to recover the same by means of compensation from the Firm/ Agency.

- The Registrar or an Officer explicitly authorized by him will represent the Institute in all dealings with the  Firm/ Agency.

- The staff engaged by the Agency shall draw their remuneration from their Agency and will not claim any employment benefit from the Institute at any time. The agency  shall  also be responsible  for the statutory obligations of such personnel and shall indemnify  the Institute  in the matter.

- MODE OF SELECTION:

- A committee constituted by the Institute will examine all the proposals on the basis of

  - Credentials of the contractor and the key personnel.

  - Past experience in similar business.

  - Materials and methodology to be applied for cleaning and maintenance works.

  - The quality of service

  - Service charges quoted

- The recommendation of the committee will be put up to Director NIT for his consideration. Decision of Director will be final and binding. It should be noted that selection will be based on combination of quality and cost, instead of cost alone.

- Photo copy of all relevant documents as mentioned in Annexure-I have to be submitted along with the proposal, failing which the same is liable to be rejected.

- COMMERCIAL TERMS AND CONDITIONS:

- The successful bidder/firms shall deposit a bank guarantee/Bank Draft of Rs.20,000/- ( Rupees twenty thousand only) from a nationalized bank  in favour of   National Institute of Technology, Rourkela. The minimum period of validity of the bank guarantee shall be for fifteen months from the date of issue of the same. The security money / Bank guarantee shall be released within one month after realization of the Institute dues, if there would be any on termination of the contract.

- If the Firm/Agency fails to execute the job within specified time given by the institute, the security deposit shall be forfeited and the next eligible firm/Agency   shall be offered.

- The agency shall submit a monthly claim (the mutually agreed rate as per the contract) to the Institute through the designated officer of the Institute, who shall endorse a certificate on the bill for the services rendered by it during that month. The payment of the certified monthly bill shall normally be made within fifteen days from the date of receipt of the bill.

- CONTRACT VALIDITY:

- The contract will be operative for a period of one year. However, this will be reviewed at the end of each year based on the performance and if found satisfactory it will be renewed for two years more, on year to year basis.

- This contract can  be  terminated  under following circumstances .

- By giving one month notice by the Institute.

- The Agency not performing his duties properly as per the agreed terms and conditions of the contract.

- For committing breech of the terms &  conditions  of  the  contract or assigning  the contract  or  any  part  thereof  or  benefit  or  interest therein or hereunder by the Agency to any third party for subletting whole or part of the contract to any third party.

- On the Firm/Agency being declared as insolvent by the court of law. During  the  period  for  termination  of  contract  in  the  situation contemplate above, the Agency shall keep discharging his duties as before  till  the  expiry  of  notice  period. It  shall  be  the  duty  of  the contractor to remove all the persons deployed by him on termination of the contract on any ground whatsoever and to ensure that no person  creates any disruption/ hindrance/ problem of any nature to NIT, Rourkela.

- JURISDICTION AND RIGHT TO AMEND RULES:

- The institute reserves the right to amend rules whenever and wherever considered necessary and appropriate. The same shall be intimated to the shop owner in due course.

- The Institute rules shall be binding for execution of the contract. Further, in case of any dispute arising out of or in connection with the aforesaid contract either during subsistence of the contract or thereafter, the Director, NIT, Rourkela is the sole arbitrator to decide the same and his decision is final and binding on both the parties as per the provisions of the Arbitration and Conciliation Act 1996. If differences persist even after arbitration and there are compelling reasons to go to the court, it will be decided in the court of Rourkela only.

- INSTRUCTIONS TO THE BIDDERS:

- Interested bidders can visit the site  in our campus  on any working day. In case of any further clarification, the bidders may contact Mr. S. P. Mohapatra, AEE, Civil maintenance, NIT, Rourkela.

2. The bids must be submitted in two parts in two separate sealed envelopes as listed below.

a)  Techno-Commercial

b)  Price Bid

3.	E.M.D of  Rs.10,000/- (Rupees Ten  thousand only) in the shape of demand draft in favour of “ Director, NIT, Rourkela”, payable at any nationalized bank at Rourkela must be deposited along with the bid without which the bid will not be honored and liable to be rejected . The E.M.D will be refunded to unsuccessful bidders within a month of finalization of tender.

- The bidders are requested to apply in a sealed envelope, addressed to The Registrar, NIT, Rourkela, superscribing  the following on the top of the envelope

- All relevant information and documents must be furnished along with the proposals in the given format (Annexure- I).

- Pre-bid discussion with institute committee and finalization of technical details shall be held on Dt. 01.08.2008 at 10.00 AM. All interested bidders are requested to come with their draft Techno-commercial details for discussion.

- Last date for submission of proposals 	:  Dt. 07.08.08 by 3.00 PM

Date of opening of proposals  	         	:  Dt. 07.08.08 at 3.30 PM

- The Institute reserves the right to cancel / reject any or all offers without assigning any reason thereof.

*******

Annexure-I

TENDER FOR MAINTENANCE OF WATER PUMP HOUSE AND DISTRIBUTION OF WATER (ACADEMIC AREA, HALLS OF RESIDENCE, STAFF QUARTER AREA)

- Name of the Firm/Agency			:______________________________

- Full Postal Address				:______________________________

_______________________________

_______________________________

_______________________________

3. Other Business of the Firm			: _______________________________

4. Office/Residence Phone No./ Mobile No., If any	:__________________________

5. Office Fax No. If any 			: _______________________________

6. Name(s) of the Proprietor/			: ______________________________

Partners

7. PAN  No. (Mandatory)			: _____________________________

8. E.P.F & ESI Registration No.		: _____________________________

9.  Service Tax Registration No.		:______________________________

10.  Labour License No.			: _____________________________

11. Volume of Business in the Financial	: _______________________________

Year 2007-08.

12. Volume of Business in the Financial	: _______________________________

Year 2007-08 with NIT, Rourkela, If any

give details :

13. Past experience in similar business or credential (enclose relevant documents/

order copies of other organizations )

- Number and qualification of personnel the firm proposes to use	: ______________

(Attach separate sheet for qualification, experience and other details of personnel)

15. Materials, Machinery and methods used in executing the job.

Signature of the Proprietor/ Partner

N.B. (Please enclose the photo copy of following documents along with the form)

1. Income Tax / Service Tax Clearance Certificate

2. Service Tax registration No. and PAN No.

3. Electrical & Mechanical works license

4. E.P.F, ESI & Labour License.

5. Order copy of other organizations if any.

# Text boxes

TENDER FOR MAINTENANCE OF WATER PUMP HOUSE & DISTRIBUTION OF WATER

Tender Notice No. NITR/PW/08/___, Date: 18.07.08

Due Date: 07.08.08

ON THE LETTERHEAD OF THE FIRM/AGENCY